30.06.2010
Testing of SRmobile in the forest. Programme version: SR_portable_A0_91.CR1
Measurement cycle: 60 min

No of chambers: 2

PLOT NUMBERING:

Age class: number (0-20 yr = I; 21-40 yr = II;  ...; 140-160yr = VIII; ...)

PlotID: two digits

Plot: 1 – 4 (1=central, 2=north (0°); 3=120°; 4=270°)

SR subplot: 1, 2. (1- not for trenching, 2 – for trenching).

Example of the plot code: 8-01-2-1 (i.e. in the datafile 80121)
Important:

In all data-files it is necessary to manually change the plot numbering. Since for now there is only one chamber per plot (trenched vs. non-trenched) each of the measurement has to have its own plot number (so simple edit->replace is not possible!)

TDR should be by chamber 1 (the program will record value of TDR always as the value for chamber 1, even if we put it next to other chamber).
