2008-07-15
Today we, Ivan Balenović (IB) and Maša Zorana Ostrogović (MZO), performed the measurements with the portable Soil Respiration (SR) system. 

IMPORTANT: Data within downloaded files have a mixed standpoint numbers (koji i koji, i kako bi trebalo biti) and the time recorded in CR1000 is also wrong. The wright time can by obtained by adding ___days and ___hours:___minutes:___seconds to the time within the files

We also measured the temperature with the thermocouples but it seems that the something is not working OK because there is no data on temperature. Hrvoje Marjanović (HM) informed Giorgio Alberti (GA) on this problem.

2008-07-16

Giorgio discovered a bug in the program of CR1000 in the portable SR system. The program read thermocouples and soil water content (SWC) sensors, but the data were not saved. Giorgio have sent the new version of the program for CR1000 titled:

SR_portable_A0_7.CR1

(soilT and swc are stored in the table Effl_out of CR1000). The new version of the software has to be uploaded to the CR1000 of the portable SR system before the next round of measurement.
 2008-07-21
Today at 9:30h solar time IB and HM uploaded the new version of the program to the CR1000 datalogger of the portable SR system. 

Old version: SR_portable_A0_6.CR1
New version: SR_portable_A0_7.CR1

IB proceeded to the forest for a new round of SR measurements. The measurements were finished at 14:00H solar time. Due to that the automatic SR at the station was in standby and measurement at 12h ST was not performed. At 14h the automatic SR at the station was turned back on.
IB also collected water from the manual pluviometer at 14:10 h solar time.

